**Q.1**

- Will Shen NGO provide the Contractor with designs of the greenhouses?

- No. Designs of the greenhouses, getting approvals of the designs by the authorized entity, as well as permissions for the construction works are subjects of the contract and should be done by the Contractor. (See VOLUME 3, Work technical specification, “Works description”.

**Q.2**

- Should the paint used for painting the greenhouses be natural?

- No, it is not obligatory, as the greenhouses will not be used for the production of organic food.

**Q.3**

-Timeframe for the construction works is from the 20th of September to the 10th of November. Do you find it realistic?

- Our research shows that a group of 4-5 workers can complete the construction works of a 1000 sq.m greenhouse in 20 days. Given the specific climate of Gegharkunik marz, we find it realistic to implement construction works in 50 days.

**Q.4**

- What is dripping irrigation system?

- The dripping irrigation system consists of a water tank, а pump, а filter and irrigation pipes with drippers (emitters). The pipes will be laid along the entire length of the greenhouses 80 cm apart from each other.

**Q.5**

- What type of boiler do you expect to use in the greenhouses?

- The boiler should be universal, able to function with biogas, electrical power, wood and cow dung.

**Q.6**

- Is it possible to visit and inspect the site?

- Yes, the tenderer is strongly advised to visit and inspect the site of the works and its surroundings. Date, time and place can be agreed with the regional representative of the Contracting Authority, Mrs. Lyuba Manukyan, tel: 098 20 40 74. (See article 6.1 of the Instructions to Tenderers)

**Q.7**

- Can you provide with information on the beginning and ending dates of the construction works?

- See article 15 of the Contract Notice.

**Q.8**

- Are there any limitations about the country of origin of the construction materials supplied?

- There are limitations in the case the amount of the supplies to be purchased is equal or above 100,000 euros. (See article 8 of the Contract Notice).